- Losses and EFFICIENCY OF TRANSFORMER

## Losses in Transformer

In any electrical machine, 'loss' can be defined as the difference between input power and output power. An electrical transformer is a static device, hence mechanical losses (like windage or friction losses) are absent in it. A transformer only consists of electrical losses (iron losses and copper losses). Transformer losses are similar to losses in a DC machine, except that transformers do not have mechanical losses.

Losses in transformer are explained below –

#### Core Losses Or Iron Losses

Eddy current loss and hysteresis loss depend upon the magnetic properties of the material used for the construction of core. Hence these losses are also known as core losses or iron losses.

Hysteresis loss in transformer: Hysteresis loss is due to reversal of magnetization in the transformer core. This loss depends upon the volume and grade of the iron, frequency of magnetic reversals and value of flux density.

It can be given by, Steinmetz formula: 	Wh= ηBmax1.6fV  watts

Where,   η = Steinmetz hysteresis constant

V = volume of the core in m3

Eddy current loss in transformer: In transformer, AC current is supplied to the primary winding which sets up alternating magnetizing flux. When this flux links with secondary winding, it produces induced emf in it. But some part of this flux also gets linked with other conducting parts like steel core or iron body or the transformer, which will result in induced emf in those parts, causing small circulating current in them. This current is called as eddy current. Due to these eddy currents, some energy will be dissipated in the form of heat.

It can be given by: 	We= KeBmax2f2t2V  watts

Where,   t: Thickness of the laminations

#### Copper Loss in Transformer

Copper loss is due to resistance of the transformer windings.  Copper loss for the primary winding is I12R1 and for secondary winding is I22R2. Where, I1 and I2 are current in primary and secondary winding respectively, R1 and R2 are the resistances of primary and secondary winding respectively. It is clear that Cu loss is proportional to square of the current, and current depends on the load. Hence copper loss in transformer varies with the load.

- Efficiency of Transformer

Just like any other electrical machine, efficiency of a transformer can be defined as the output power divided by the input power.

Efficiency = output / input

Transformers are the most highly efficient electrical devices. Most of the transformers have full load efficiency is in between 95% to 98.5%. As a transformer being highly efficient, output and input are having nearly same value.

The efficiency is defined as follows:

η=output power PoutInput PowerPin∗100=PoutPout+Losses∗100

The losses in the transformer are the core loss Pc and copper loss Pcu. Therefore,

η=PoutPout+Losses=PoutPout+Pc+Pcu

The copper loss can be determined if the winding currents and their resistances are known:

Pcu=I12R1+I22R2 = I12Req1=I22Req2

Pout=V2I2cosϕ2

Therefore,

η=V2I2cosϕ2V2I2cosϕ2+Pc+I22 Req2* 100

η=V2'∗I2' *cos ϕ2V2'∗I2' *cos ϕ2+Pc+I2Req1∗100

## Maximum Efficiency

For constant values of the terminal voltage V2and load power factor angleϕ2, the maximum efficiency occurs when:

dηdI2=0

Therefore the condition for maximum efficiency is:

Pc=I22Req2

That is, core loss = copper loss.

For full load condition,

Pcu,FL=I2,FL2Req2

Let

x=I2I2,FL=per unit loading

Pc=x2Pcu,FL

- TESTING OF SINGLE PHASE TRANSFORMER

- All the transformers are tested before placing them in the field. By performing these tests, we can determine the parameters of a transformer to compute its performance characteristics (like voltage regulation and efficiency.).

To furnish the required information, open circuit and short circuit tests are conducted conveniently without actually loading the transformer.

Open-circuit or No-load Test

This test is carried out to determine the no-load loss or core loss or iron loss and no-load current I0which is helpful in finding the no-load parameters, that is, exciting resistance R0 and X0 exciting reactance of the transformer.

This test is usually carried out on the low-voltage side of the transformer.

The low voltage winding is connected to the normal rated voltage V1 as given on the name plate of the transformer. The high voltage winding is kept open as shown in Fig. 2.1. Since the high-voltage winding is open circuit, the current drawn by the primary is called no-load current I0 measured by the ammeter A. The value of no-load current I0 is very small usually 2% to 10% of the rated full-load current. Thus, the copper loss in the primary is negligibly small and no copper loss occurs in the secondary as it is open. Therefore, wattmeter reading W0 only represents the core or iron losses for all practical purposes. These core losses are constant at all loads.

Fig. 2.1 Circuit for open circuit test

Open circuit test

IO    =    open circuit current, Amperes

VO   =    open circuit voltage, Volts

WO   =    open circuit power, Watts

WO    =    VO * IO * cosO   , Watts

where , cosO = No load power factor.

 cosO  =  WO/(VO * IO)

Iw   = working current      = IO * cos O

Im   =  magnetizing current  =  IO * sin O

Rm  =  VO/Iw

Xm  =  VO/Im

The Iron losses measured by this test are used to determine transformer efficiency and parameters of exciting circuit of a transformer.

Short Circuit Test

This test is carried out to determine the following:

- Copper losses at full load (or at any desired load). These losses are required for the calculations of efficiency of the transformer.

- Equivalent impedance (Zes or Zep), resistance (Res or Rep) and leakage reactance (Xes or Xep) of the transformer referred to the winding in which the measuring instruments are connected. Knowing equivalent resistance and reactance, the voltage drop in the transformer can be calculated and hence regulation of transformer is determined.

This test is usually carried out on the high-voltage side of the transformer.

The High voltage winding is short circuited by a thick strip across the terminals as shown in Fig. 2.1. A low voltage at normal frequency is applied to the high-voltage winding with the help of on autotransformer so that full-load current flows in both the windings, measured by ammeters A. Low voltage is essential, failing which an excessive current will flow in both the windings that may damage them. Since a low voltage (usually 5 to 10% of normal rated voltage) is applied to the transformer winding, therefore, the flux set-up in the core is very small.

The iron losses are negligibly small due to low value of flux as these losses are approximately proportional to the square of the flux. Hence, wattmeter reading Wc only represents the copper losses in the transformer windings for all practical purposes. The applied voltage V2sc is measured by the voltmeter V which circulates the current I2sc (usually full-load current) in the impedance Zes of the transformer to the side in which instruments are connected as shown in Figure 10.33.

Let the wattmeter reading = Wc

Fig. 2.2 Circuit for short circuit test

Short circuit test

ISC    	=    short circuit current, Amps

VSC   	=    voltage applied in the short circuit test, Volts

WSC   	=    power consumed in short circuit test, Watts

WSC     =    VSC * ISC * cosSC, Watts

 cosSC  =  WSC/(VSC * ISC)

ZO2 = VSC /ISC

RO2  =   ZO2 * cosSC

XO2  =   ZO2 * sinSC

RO1  =  RO2/K2 ; XO1  =  XO2/K2

Where, K = transformation ratio= V2/V1

After calculating Ro2 and X02, the voltage regulation of the transformer can be determined at any load and power factor.

Equivalent Circuit of 1ϕ-Transformer

The equivalent circuit of 1ϕ-Transformer is as shown in fig. 2.3.

Fig. 2.3. Total equivalent circuit of the transformer referred to primary

Where

V1 = Primary voltage in volts

V21 = Secondary voltage referred to primary in volts

I1 = Primary Current in amps

I21 = Secondary current referred to primary in amps

I0 = No- load current in amps

R0 = Excitation resistance in ohms

X0 = Excitation reactance or magnetizing reactance in ohms

R01 = R1 + R21 = Total equivalent resistance referred to primary in ohms

X01 = X1 + X21 = Total equivalent reactance referred to primary in ohms

Where

R1 = Primary winding resistance in ohms

X1 = Primary winding reactance in ohms

R21 = Secondary winding resistance referred to primary in ohms = R2/K2

X21 = Secondary winding reactance referred to primary in ohms = X2/K2

R2 = Secondary winding resistance in ohms

X2 = Secondary winding reactance in ohms

K = Transformation ratio = N2/N1 = V2/V1

ZL1 = Load impedance referred to primary in ohms

Transformer Voltage Regulation

Where,

E2 – secondary terminal voltage at no load
 V2 – secondary terminal voltage at full load

# Condition for Zero and Maximum Voltage Regulation

For Zero voltage regulation:

Zero voltage regulation means, Sending end voltage and Receiving end voltage become equal. This case is also known as ideal voltage regulation and is possible with leading power factor loads.

Where Φ2 is the angle between V2 & I2 and Current (I2) leads the Voltage (V2).

For maximum voltage regulation:

Maximum voltage regulation is (positive) possible with lagging power factor loads.

For getting maximum V.R

Where Φ2 is the angle between V2 & I2 and Current (I2) lags the Voltage (V2).

Graph between the percentage Voltage regulation and power factor as shown in fig. 2.4.

Fig. 2.4

- Sumpner's Test Or Back-To-Back Test On Transformer

Sumpner's test or back to back test on transformer is another method for determining transformer efficiency, voltage regulation and heating under loaded conditions. Short circuit and open circuit tests on transformer can give us parameters of equivalent circuit of transformer, but they cannot help us in finding the heating information. Unlike O.C. and S.C. tests, actual loading is simulated in Sumpner's test. Thus the Sumpner's test gives more accurate results of regulation and efficiency than O.C. and S.C.tests.

Sumpner's test or back to back test can be employed only when two identical Transformers are available. Both transformers are connected to supply such that one transformer is loaded on another. Primaries of the two identical transformers are connected in parallel across a supply. Secondaries are connected in series such that emf's of them are opposite to each other. Another low voltage supply is connected in series with Secondaries to get the readings, as shown in the circuit diagram shown in fig. 2.5.

Note: Close SPST if V3 shows zero otherwise change the polarity of any one of the secondary winding.

- Fig. 2.5

In the above diagram fig. 2.5, T1 and T2 are identical transformers. Secondaries of them are connected in voltage opposition, i.e. EEF and EGH. Both the emf's cancel each other, as transformers are identical. In this case, as per superposition theorem, no current flows through secondary. And thus the no load test is simulated. The current drawn from V1 is 2I0, where I0 is equal to no load current of each transformer. Thus input power measured by wattmeter W1 is equal to iron losses of both transformers.

i.e. iron loss per transformer Pi = W1/2.

Now, a small voltage V2 is injected into secondary with the help of a low voltage transformer. The voltage V2 is adjusted so that, the rated current I2 flows through the secondary. In this case, both primaries and secondaries carry rated current. Thus short circuit test is simulated and wattmeter W2 shows total full load copper losses of both transformers.

i.e. copper loss per transformer PCu = W2/2.

From above test results, the full load efficiency of each transformer can be given as –

% full load efficiency of each transformer = outputoutput+W12+W22∗100

Advantages of the test:

- The power required to carry out the test is small.

- The transformers are tested at full-load conditions.

- As the test results gives the value of core and copper losses occurring simultaneously so heat run test can be conducted on two transformers.

- The secondary current (i.e I2) can be varied to any value using regulating transformer. Hence we can determine the copper losses at full load condition or at any load.

Drawbacks of the test:

Only limitation is that two identical transformers are required. In practice exact identical transformers cannot be obtained and as two transformers are required, the test is not economical.

## Separation of Core (or Iron) Losses In A Transformer

Hysteresis loss and eddy current loss are the components of the iron losses.

Hysteresis loss in transformer is denoted as,

Wh= Kh Bm1.6 f    watts,

Eddy current loss in transformer is denoted as,

We= Ke KfBm2 f2   watts

For the applied flux density Bmax constant to the core, we have

Hysteresis loss = Af

and 			Eddy current loss = Bf2

The no load loss can be expressed as

WC= Af+Bf2

Where A and B are constants.

Therefore,									Fig. 2.6

Fig. 2.6 shows the graph, which is a straight line when WC/f and f are plotted along the y-axis and x-axis, respectively. The intercept on the y-axis gives the value of A, whereas the slope of the line gives the value of B. Now the hysteresis and eddy current loss can be determined at any desired frequency.

Parallel operation of transformers

Reasons

- To maximize electrical power system availability: If numbers of transformers run in parallel, we can shutdown any one of them for maintenance purpose. Other parallel transformers in system will serve the load without total interruption of power.

- To maximize power system reliability: if any one of the transformers run in parallel, is tripped due to fault of other parallel transformers is the system will share the load, hence power supply may not be interrupted if the shared loads do not make other transformers over loaded.

- To maximize electrical power system flexibility: There is always a chance of increasing or decreasing future demand of power system. If it is predicted that power demand will be increased in future, there must be a provision of connecting transformers in system in parallel to fulfill the extra demand. Again if future demand is decreased, transformers running in parallel can be removed from system to balance the capital investment and its return.

- Conditions for Parallel Operation of Transformers

When two or more transformers run in parallel, they must satisfy the following conditions for satisfactory performance.

Same Voltage Ratio

If two transformers of different voltage ratio are connected in parallel with same primary supply voltage, there will be a difference in secondary voltages. Now say the secondary of these transformers are connected to same bus, there will be a circulating current between Secondaries and therefore between primaries also. As the internal impedance of transformer is small, a small voltage difference may cause sufficiently high circulating current causing unnecessary extra I2R loss.

- Same Percentage Impedance

The current shared by two transformers running in parallel should be proportional to their MVA ratings. Again, current carried by these transformers are inversely proportional to their internal impedance. From these two statements it can be said that, impedance of transformers running in parallel are inversely proportional to their MVA ratings. In other words, percentage impedance or per unit values of impedance should be identical for all the transformers that run in parallel.

- Same Polarity

Polarity of all transformers that run in parallel should be the same otherwise huge circulating current that flows in the transformer but no load will be fed from these transformers.

Same Phase Sequence

The phase sequence or the order, in which the phases reach their maximum positive voltage, must be identical for two parallel transformers. Otherwise, during the cycle, each pair of phases will be short circuited.

Parallel Operation of a Single Phase Transformer

. The circuit diagram of two single phase transformer A and B connected in parallel are shown in fig. 2.7.

Fig. 2.7

Let,

a1 is the turn ratio of the transformer 1
a2 is the turn ratio of the transformer 2
Z1 is the equivalent impedance of the transformer 1 referred to secondary
Z2 is the equivalent impedance of the transformer 2 referred to secondary
ZL is the load impedance across the secondary
I1 is the current supplied to the load by the secondary of the transformer 1
I2 is the current supplied to the load by the secondary of the transformer 2
VL is the secondary load voltage
IL is the load current

### Parallel Operation of Transformers with Equal Voltage Ratios

Let us now consider the case of two transformers connected in parallel having equal voltage ratios. The two transformers are having no load secondary voltage same. i.e. E1 = E2 = E. These voltages are in phase with each other. This is possible if the magnetizing currents of the two transformers are not much different. With this case the primaries and secondaries of the two transformers can be connected in parallel and no current will circulate under no load condition. This is represented in the Fig. 2.8.

Fig. 2.8

If we neglect magnetizing components, the two transformers are represented as shown in the Fig. 2.9.

Fig. 2.9

The phasor diagram under this case is shown in the Fig. 2.10. The two impedances Z1 and Z2 are in parallel. The values of Z1 and Z2 are with respect to secondary.

Fig. 2.10

Z1 and Z2 are in parallel therefore the equivalent impedance is given by,

1/Zeq = 1/Z1 + 1/Z2            Zeq = Z1 Z2 / (Z1 + Z2)

As seen from the phasor diagram

I1 Z1 = I2 Z2 = I Zeq

I1 = I Zeq/ Z1 = I Z2 / (Z1 + Z2)

I2 = I Zeq/ = I Z1/ (Z1 + Z2)

Multiplying both terms of above equation by voltage V2,

V2 I1 = = V2 I Z2 / (Z1 + Z2)

V2 I2 = V2 I Z1/ (Z1 + Z2)

But V2 I x 10-3 is Q i.e. the combined load in KVA

From this KVA carried by each transformer is calculated as,

Q1=Q∗Z2Z1+Z2=Q∗11+Z1Z2    ;    Q2=Q∗Z1Z1+Z2=Q∗11+Z2Z1

The above expressions are useful in determining the values of QA and QB in magnitude and in phase.

Key point: The equation contains impedance ratio hence ohmic values of resistances and reactances are not required.

The two transformers work at different power factor. One operates at high p.f. while the other at low p.f.

If the impedances Z1 and Z2 are equal both in magnitude and quality i.e. (X1/ R1 = X2/R2), both transformers operate at the same p.f. which is the p.f. of the load.

Parallel Operation of Transformers with Unequal Voltage Ratios

Now we will consider the case of two transformers working in parallel and having unequal voltage ratio. This is shown in the Fig. 2.11.

The voltage ratios of the two transformers are not equal. The parallel operation under this case is still possible. But as seen previously there would be a circulating current under no load condition.

Fig. 2.11

Let us consider voltage ratio of transformer 1 is slightly more than 2. So that induced e.m.f. E1 is greater than E2. Thus the resultant terminal voltage will be E1 - E2 which will cause a circulating current under no load condition.

Ic = (E1 - E2)/ (Z1 + Z2)

From the circuit diagram we have,

E1 = V2 + I1 Z1

E2 = V2 + I2 Z2

Also,                    IL = I1 + I2

V2 = IL ZL = (I1 + I2) ZL

E1 = (I1 + I2) ZL + I1 Z1                   ......... (a)

E2 = (I1 + I2) ZL + I2 Z2                  ... (b)

Subtracting equations (a) and (b) we have,

E1 - E2 = I1 Z1 - I2 Z2

I1 = ((E1 - E2) + I2 Z2) /Z1

Subtracting this value in equation (b),E2=I2Z2+[(E1−E2)+I2Z2Z1+I2]ZL

...                       I2 = (E2 Z1 - (E1 - E2) ZL) / (Z1 Z2 + ZL (Z1 + Z2))

Similarly,             I1 = (E1 Z2 + (E1 - E2) ZL)/ (Z1 Z2 + ZL (Z1 + Z2))

Adding the above equations,

I1 + I2 = (E1 Z2 + E2 Z1) / (Z1 Z2 + ZL (Z1 + Z2))           .............(c)

But                     IL = I1 + I2

Load voltage,     V2 = IL ZL

Dividing both numerator and denominator of equation (c) by Z1 Z2,

If impedances Z1 and Z2 are small in comparison with load impedance ZL then product Z1 Z2 may be neglected so we get,

But we know that

(E1 - E2) / (Z1 + Z2) = Ic

Key Point: This circulating current Ic adds to I1 but subtracts from I2. Hence transformer 1 gets overloaded. The transformers will not share the load according to their ratings. The IC leads to increase the copper loss.

The phasor diagram is shown in the Fig. 2.12

Fig. 2.12

The two transformers will operate at different power factor Φ1 and Φ2 are the power factor angles of these two transformers whereas Φ is the combined p.f. angle.

Here EA and EB have the same phase but there may be some phase difference between the two due to some difference of internal connection as for the connection in parallel of a Star/Star and a Star/Delta 3 phase transformers.

Key Point: While solving the problems on parallel operation of transformers it is convenient to work with numerical values of impedances instead of percentage values.