13EE3212-POWER SYSTEMS-II

(EEE)

Credits:4

Instruction/week: 4 hrs.       					       Max. Sessional marks: 40

Univ. Exam: 3 hrs.                					Univ. Exam marks: 60

UNIT-I

PERFORMANCE OF TRANSMISSION LINES: Representation of lines-Short transmission lines-Medium transmission lines-Nominal pie and T representation of long lines by distributed parameters-Equivalent T and Pie representation of long transmission lines – Evaluation of ABCD parameters of long lines-Ferranti effect-Power flow through a transmission line-Voltage control and line compensation-Introduction-Shunt capacitors-Series capacitors-Synchronous compensation, Receiving end power circle diagrams.

UNIT-II

POWER SYSTEM TRANSIENTS: Introduction-Circuit closing transients -Recovery transient due to removal of a short circuit-Travelling waves on transmission line –Surge impedance and wave velocity-Specification of travelling waves-Reflections and refractions of waves-Different types of terminations-Forked line-Successive reflections-Beweley’s Lattice diagram.

UNIT-III

POWER SYSTEM EARTHING: Objectives-Definitions-Tolerable limits of body currents-Soil resistivity-Earth resistance-Tolerable Step and touch voltages-Design of earthing grid-Tower footing resistance-Neutral earthing-Ungrounded and effectively earthed system-Resistance, Reactance, Arc suppression coil earthing and grounding transformers. Arcing grounds-protection against arcing grounds.

UNIT-IV

SUBSTATIONS: Number and size-Location and installation-The main equipment’s in substations- Bus bar arrangements-Key diagram of 66/11KV substation.

EXTRA HIGH VOLTAGE TRANSMISSION: Introduction-Need for EHV and UHV-Environmental aspects in EHV and UHV lines-EHV systems in India.

HVDC TRANSMISSION: Introduction-Types of DC links-Advantages of DC transmission-Incorporating HVDC into AC systems-HVDC systems in India.

UNIT-V

SYSTEM MODELING: Representation of transmission lines-Circuit representation of synchronous machine, two winding and three winding transformers-Per unit representation and advantages-Single line diagram representation-Impedance and reactance diagrams-Changing the base of per unit quantities.

TEXT BOOKS:

- “Power system analysis and Design”  byB.R.Gupta Wheelers publishing 3rd edition.

- “Electrical power system” by C.L.Wadhwa, newage publications.

REFERENCES

- “Elements of power system analysis” by William   D.Stevenson. JrMc GRAW-HILL International pub. 4th edition.

- “Power System Engineering”  byI.J Nagarath and D.P Kothari, TMH Publications.