20EE2103-ELECTRICAL MACHINES AND CONTROL SYSTEMS

(MECHANICAL ENGINEERING)

| Course Category: | Professional core | Credits: | 3 |
| --- | --- | --- | --- |
| Course Type: | Theory | Lecture-Tutorial-Practical: | 3-0-0 |
| Pre-requisite: | Principle of Electro Mechanical Energy Conversion, Fundamental concepts of magnetically coupled electric circuits, Logic circuit design, basic knowledge of differentiation, integration, Laplace and inverse Laplace transformation techniques. | Sessional Evaluation: Univ.Exam Evaluation: Total Marks: | 40 60 100 |

| Course Objectives: | Students undergoing this course are expected to learn: |  |
| --- | --- | --- |
|  | 1. The constructional details and principle of operation of DC machines 2. The characteristics, operation and underlying theories of DC Motor. 3. The characteristics, operation and underlying theories of Transformers. 4. The history and need of different types of microprocessor. 5. The knowledge about linear systems and their control techniques for open loop and closed loop systems. 6. The concepts of PLC and SCADA. |  |
| Course Outcomes: | Upon successful completion of the course, the student will be able to: |  |
|  | CO1 | Understand the constructional details and principle of operation of DC machines. |
|  | CO2 | Understand of Characteristics of different types of motor and applications DC Motors |
|  | CO3 | Understand the construction, principle of operation and analyze the performance of Single phase transformers. |
|  | CO4 | Understand the evaluation of different types of microprocessors. |
|  | CO5 | Gain the knowledge on linear systems and their control techniques for open loop and closed loop systems. |
|  | CO6 | Understand the PLC and SCADA. |
| Course Content: | Unit-I DC Generators: Constructional details-Principle of Operation-Types of Excitation, Generated EMF, Characteristics of various types of generators and applications. Unit-II DC Motors: Torque developed in motor, Characteristics of different types of motor and applications, starters, losses and efficiency calculations. Unit-III Transformers: Single phase transformers-Principle of operations-Construction, EMF equation, regulation, losses and efficiency, OC and SC test. Unit-IV Introduction to Microprocessors: Architecture of 8085 microprocessor, pin configuration, Instruction set, Addressing modes, Advantages and disadvantages. Unit-V Introduction to control systems: Open loop and closed loop control systems, Transfer function, Electrical analogy of mechanical systems, Introduction to proportional, derivative and integral controllers. Unit-VI Programmable Logic Controller And SCADA: CPU, memory, I/O modules, power supplies, programming device and system buses and remote I/Os, counter, timer -Different PLC's available in market -Selection of a PLC, SCADA- Concept and Applications |  |
| Text Books & Reference Books: | Text Books: 1.“Theory and performance of Electrical machines”, by J.B Gupta, SK Kataria publishers. 2.“Electrical Machines”, by Ashfaq Hussain ,Dhanpatrai& co. 3. “ Microprocessors and interfacing: Programming and hard ware”, by Douglas V. Hall TMH, 2nd edition. 4.“Control Systems” by A. Nagoor kani RBA publishers 5. PLC & SCADA systems by Francis G.L Reference Books: 1. “Performance of DC Machines” by M.G.Say, Second edition,CBS publishers 2.“Electrical machines” byI.J.Nagarath and D.P.Kothari second edition, Tata McGraw-Hill. 3.A.K. Ray and K.M. Bhurchandi, “ Advanced Microprocessors and Peripherals”, TMH 4 “Control system Engineering” by NISE, Wiley, 2000 |  |
| E-Resources: | http://nptel.ac.in/courses http://iete-elan.ac.in http://freevideolectures.com/university/iitm |  |